Vermont School Kiln Safety Inspection Checklist

Date of Inspection:

School Name:

Ventilation and Environmental Safety

| Item | Yes | No | N/A | Corrective Action Needed |
| --- | --- | --- | --- | --- |
| Hazardous kiln fumes and heat are vented directly outdoors. | ☐ | ☐ | ☐ |  |
| Kiln ventilation system is functioning properly. | ☐ | ☐ | ☐ |  |
| Room has adequate makeup air and general ventilation. | ☐ | ☐ | ☐ |  |
| Safety Data Sheets (SDS) are available for all glazing chemicals. | ☐ | ☐ | ☐ |  |
| Glazing chemicals are properly stored and disposed of. | ☐ | ☐ | ☐ |  |

Housekeeping and Clearance

| Item | Yes | No | N/A | Corrective Action Needed |
| --- | --- | --- | --- | --- |
| Kiln room is free of combustible materials. | ☐ | ☐ | ☐ |  |
| No storage is located near the kiln. | ☐ | ☐ | ☐ |  |
| Minimum 18-inch clearance is maintained around the kiln. | ☐ | ☐ | ☐ |  |
| Kiln is in a dedicated space or room. | ☐ | ☐ | ☐ |  |
| Kiln area can be secured from unauthorized access. | ☐ | ☐ | ☐ |  |

Fire Protection

| Item | Yes | No | N/A | Corrective Action Needed |
| --- | --- | --- | --- | --- |
| Fire extinguisher is located near the kiln. | ☐ | ☐ | ☐ |  |
| Fire extinguisher inspection tag is current. | ☐ | ☐ | ☐ |  |
| Fire suppression system is installed where required. | ☐ | ☐ | ☐ |  |
| High-temperature sprinkler head is installed, if applicable. | ☐ | ☐ | ☐ |  |
| Local Fire Marshal has been notified of kiln installation. | ☐ | ☐ | ☐ |  |
| Walls have appropriate fire-resistance rating. | ☐ | ☐ | ☐ |  |
| No unsealed holes or penetrations exist in walls or ceilings. | ☐ | ☐ | ☐ |  |

Equipment Condition

| Item | Yes | No | N/A | Corrective Action Needed |
| --- | --- | --- | --- | --- |
| Electrical connections show no signs of damage or wear. | ☐ | ☐ | ☐ |  |
| Electrical installation appears compliant and professionally installed. | ☐ | ☐ | ☐ |  |
| Kiln door closes properly and maintains a seal. | ☐ | ☐ | ☐ |  |
| Kiln is free from cracks, structural damage, or deterioration. | ☐ | ☐ | ☐ |  |
| Thermostat is functioning properly. | ☐ | ☐ | ☐ |  |
| High-limit switch/safety controls are functioning properly. | ☐ | ☐ | ☐ |  |
| Manufacturer operating manuals are available. | ☐ | ☐ | ☐ |  |

Training and Administrative Controls

| Item | Yes | No | N/A | Corrective Action Needed |
| --- | --- | --- | --- | --- |
| Kiln operators have received documented safety training. | ☐ | ☐ | ☐ |  |
| Staff understand emergency shutdown procedures. | ☐ | ☐ | ☐ |  |
| Safety signage is posted and visible. | ☐ | ☐ | ☐ |  |
| Warning labels are present and legible. | ☐ | ☐ | ☐ |  |
| Emergency contact information is posted. | ☐ | ☐ | ☐ |  |
| Inspection and maintenance records are maintained. | ☐ | ☐ | ☐ |  |